## IR-17 Inputs
|  | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026
|  | Actual | Forecast | Budget | Budget | Budget | Budget | Budget
Account # | Gross Production in MWh 1
| CTGS | 0 | 0 | 0 | 0 | 0 | 0 | 0
| BGS | 93 | 550 | 550 | 550 | 550 | 550 | 550
| CT3 | 491.873 | 1200 | 1200 | 1200 | 1200 | 1950 | 1950
Installed Capacity in kiloWatts
| CTGS | 2020: 38000; 2021: 38000
| BGS | 40000 | 40000 | 40000 | 40000 | 40000 | 40000 | 40000
| CT3 | 49000 | 49000 | 49000 | 49000 | 49000 | 49000 | 49000
Fuel
7117 | CTGS Heating Fuel - Bunker | 297324 | 400000 | 101731.1892 | 101731.1892 | 0 | 0 | 0
7317 | CTGS CT Fuel - Diesel | 133944 | 400000 | 286462.8048 | 423577.8447 | 424696.5057 | 614941.9638 | 613761.5355
7217 | BGS CT Fuel - Diesel | 66380 | 250000 | 215063.7165 | 313405.1039 | 314205.7747 | 290998.2316 | 290478.3053
xxxx
xxxx
xxxx
| Total On-Island Generation | 497648 | 1050000 | 603257.7105 | 838714.1379 | 738902.2804 | 905940.1954 | 904239.8408
Charlottetown Steam Plant
7102 | CTGS Build and Serv | 324947 | 262796 | 134360.9823 | 0 | 0 | 0 | 0
7103 | CTGS Maintenance | 283800 | 243340 | 0 | 0 | 0 | 0 | 0
7105 | CTGS Operating | 125813 | 122103 | 0 | 0 | 0 | 0 | 0
7116 | CTGS Superintendence | 73678 | 32600 | 0 | 0 | 0 | 0 | 0
7450 | Mech Maint2 | 2020: 67000; 2021: 45512
| Total Total On-Island Generation | 875238 | 706351 | 134360.9823 | 0 | 0 | 0 | 0
Charlottetown Diesel Plant
7302 | CTGS CT Building and Services | 2000 | 6700 | 86727.2735 | 68587.5059 | 73775.8936 | 78672.1113 | 75531.3843
7303 | CTGS CT Maint | 177280 | 119464 | 328219.5143 | 258195.7611 | 310272.3101 | 322017.0137 | 278351.3488
7305 | CTGS CT Operating | 19005 | 27950 | 74038.5466 | 63738.7515 | 74176.7183 | 83631.6093 | 72426.7288
7316 | CTGS CT Superintendence | 97255 | 47600 | 56523.0793 | 41024.5756 | 54397.247 | 106779.2586 | 107452.2159
| Total Charlottetown Diesel Plant | 295540 | 201714 | 545508.4137 | 431546.5941 | 512622.1689 | 591099.9929 | 533761.6779
Borden Generating Station
7202 | BGS Building and Services | 9716 | 3458 | 5862.4612 | 5956.3084 | 6174.4332 | 6399.4693 | 6467.3633
7209 | BGS CT Operating | 14802 | 11227 | 18904.1163 | 13704.6411 | 18205.577 | 22353.3771 | 16647.7093
7210 | BGS CT Maintenance | 124595 | 233011 | 314051.1561 | 204441.6645 | 268512.8861 | 326876.2245 | 247298.9257
7216 | CTGS CT Superintendence | 97255 | 47600 | 35368.3119 | 27499.3673 | 44555.0878 | 91267.4706 | 91630.1922
| Total BGS Building and Services | 246368 | 295296 | 374186.0455 | 251601.9813 | 337447.9842 | 446896.5415 | 362044.1906
Production - Other
7350 | Insurance | 663914 | 779500 | 970912.0613 | 1051888.141 | 1093759.4165 | 1137297.4127 | 1182568.4747
7355 | Property Taxes | 227495 | 233400 | 236640 | 241372.8 | 246200.256 | 251124.2611 | 256146.7463
7180 | Training | 13325 | 16700 | 26339.69 | 39307.9157 | 40104.0571 | 40916.4208 | 41745.3402
| Total Production - Other | 904734 | 1029600 | 1233891.7513 | 1332568.8567 | 1380063.7296 | 1429338.0946 | 1480460.5613
Depreciation
| CTGS | 7391347 | 3541699 | 0 | 0 | 0 | 0 | 0
| CT3 | 890658 | 895717 | 956593 | 1068489.0525 | 1081282.3249 | 1116345.8268 | 1152194.7678
| Borden | 815662 | 824095 | 855177 | 941903.6614 | 974365.3976 | 993520.3164 | 1014851.0395
| Total Depreciation | 9097667 | 5261511 | 1811770 | 2010392.7139 | 2055647.7225 | 2109866.1432 | 2167045.8073
Average Cost December 31 | [8 empty] | Cost Allocation
| CTGS | 58243343 | 58243343 | 0 | 0 | 0 | 0 | 0 | 53.8% | 53.42% | 0% | 0% | 0% | 0% | 0%
| CT3 | 35920717 | 36519917 | 40619295.4 | 41086517.8 | 41435361 | 43644287.4 | 44068237 | 33.18% | 33.49% | 73.09% | 72.65% | 72.23% | 73.13% | 72.66%
| BGS | 14101058 | 14269858 | 14954271.9183 | 15464643.0215 | 15927315.8525 | 16032875.5798 | 16581190.8368 | 13.02% | 13.09% | 26.91% | 27.35% | 27.77% | 26.87% | 27.34%
|  | 108265118 | 109033118 | 55573567.3183 | 56551160.8215 | 57362676.8525 | 59677162.9798 | 60649427.8368
Additions, less retirements assumed 20%
| CT3 | N/A | 599200 | 4099378.4 | 467222.4 | 348843.2 | 2208926.4 | 423949.6
| BGS | N/A | 168800 | 684413.9183 | 510371.1032 | 462672.831 | 105559.7273 | 548315.2569
Accumulated Depreciation
| CTGS | 54701644 | 58243343 | 0 | 0 | 0 | 0 | 0
| CT3 | 7385482.3042 | 8880399.3042 | 13936370.7042 | 15472082.1566 | 16902207.6816 | 20227479.9084 | 21803624.2761
| BGS | 5715993.3361 | 6708888.3361 | 8248479.2544 | 9700754.019 | 11137792.2475 | 12236872.2913 | 13800038.5877
NBV
| CTGS | 3541699 | 0 | 0 | 0 | 0 | 0 | 0
| CT3 | 28535234.6958 | 27639517.6958 | 26682924.6958 | 25614435.6434 | 24533153.3184 | 23416807.4916 | 22264612.7239
| BGS | 8385064.6639 | 7560969.6639 | 6705792.6639 | 5763889.0026 | 4789523.605 | 3796003.2885 | 2781152.249
WACC |  | 5.791% | 5.756% | 5.771% | 5.756% | 5.771% | 5.756% | 5.771%
Note 1: | Station Service at "Standby" power plants like CT3 and BGS is higher than Gross Production in most years, so Net Production would be a Negative valve, so we are using Gross Production for $/MWh calculations
Note 2: | Account 7450 - "Mechanical Maintenance" moved to Substations Group starting in 2022 when CTGS is Retired.
Note on C4: Nicholson, Kent: No Generation from CTGS in 2020. Last Generation Run in 2017.
Note on D4: Nicholson, Kent: No generation planned for CTGS in 2021.
Note on E4: Nicholson, Kent: CTGS Retired in 2022.
Note on C5: Crockett, Gloria: Station Service -385.442 MWh
Note on D5: Crockett, Gloria: 2021 Business Plan Station Service -292.69 MWh YTD
Note on C6: Crockett, Gloria: Station Service -512.841 MWh
Note on D6: Crockett, Gloria: 2021 Business Plan Station Service -418.236 MWh YTD
Note on C9: Nicholson, Kent: Unit 9 - 19 MW Unit 10- 19 MW per 2020 Integrated System Plan
Note on C10: Nicholson, Kent: CT1 - 15 MW CT2 - 25 MW per 2020 Integrated System Plan
Note on C11: Nicholson, Kent: CT3 - 49 MW per 2020 Integrated System Plan
Note on D51: Crockett, Gloria: Half year in year of retirement.
Note on D59: Crockett, Gloria: Including an allocation of 50% of average cost for 2021 as plant is retired on December 31, 2021.

## IR-17 CTGS
| 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026
| Actual | Forecast | Budget | Budget | Budget | Budget | Budget
Gross Production in MWh 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Variable Costs:
Fuel | 0 | 0 | 0 | 0
Labour
Total Variable Costs | 0 | 0 | 0 | 0 | 0 | 0 | 0
Variable Cost per MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0
Fixed Costs:
Operating | 875238 | 706351 | 134360.9823 | 0 | 0 | 0 | 0
Depreciation | 7391347 | 3541699 | 0 | 0 | 0 | 0 | 0
Insurance, Property Tax & Training | 486719.3946 | 549992.0304 | 0 | 0 | 0 | 0 | 0
Financing | 205108.83 | 101936.0143 | 0 | 0 | 0 | 0 | 0
Total Fixed Costs | 8958413.2246 | 4899978.0447 | 134360.9823 | 0 | 0 | 0 | 0
Fixed Cost per MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0
Fixed Cost in $ / kilowatt-year | 235.7477 | 128.9468 | 0 | 0 | 0 | 0 | 0
Fixed O&M Cost in $ / kilowatt-year | 35.841 | 33.0617 | 0 | 0 | 0 | 0 | 0
Note 1: Station Service at "Standby" power plants like CT3 and BGS is higher than Gross Production in most years, so Net Production would be a Negative valve, so we are using Gross Production for $/MWh calculations
Note on B7: Nicholson, Kent: Fuel Consumption in 2020 was only for Building Heating.
Note on C7: Nicholson, Kent: Fuel Consumption in 2021 was only for Building Heating.
Note on D7: Nicholson, Kent: Fuel Consumption projected for 2022 is only for Building Heating.
Note on E7: Nicholson, Kent: Fuel Consumption projected for 2023 is only for Building Heating.

## IR-17 CT3
| 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026
| Actual | Forecast | Budget | Budget | Budget | Budget | Budget
Gross Production in MWh 1 | 491.873 | 1200 | 1200 | 1200 | 1200 | 1950 | 1950
Variable Costs:
Fuel | 133944 | 400000 | 286462.8048 | 423577.8447 | 424696.5057 | 614941.9638 | 613761.5355
Labour | 5739 | 5337 | 14635.3036 | 15015.0259 | 15391.7203 | 17897.4207 | 11745.6325
Total Variable Costs | 139683 | 405337 | 301098.1084 | 438592.8707 | 440088.226 | 632839.3845 | 625507.168
Variable Cost per MWh | 283.9818 | 337.7808 | 250.9151 | 365.4941 | 366.7402 | 324.533 | 320.7729
Fixed Costs:
Operating | 289801 | 196377 | 530873.1101 | 416531.5682 | 497230.4486 | 573202.5722 | 522016.0453
Depreciation | 890658 | 895717 | 956593 | 1068489.0525 | 1081282.3249 | 1116345.8268 | 1152194.7678
Insurance, Property Tax & Training | 300176.9598 | 344857.6656 | 901864.2487 | 968160.746 | 996875.3548 | 1045331.9072 | 1075711.4982
Financing | 1652548.2831 | 1591022.992 | 1539796.4635 | 1474452.5026 | 1415739.2096 | 1347949.6831 | 1284828.1185
Total Fixed Costs | 3133184.2429 | 3027974.6576 | 3929126.8224 | 3927633.8692 | 3991127.3379 | 4082829.9893 | 4034750.4299
Fixed Cost per MWh | 6369.9049 | 2523.3122 | 3274.2724 | 3273.0282 | 3325.9394 | 2093.759 | 2069.1028
Fixed Cost in $ / kilowatt-year | 63.9425 | 61.7954 | 80.1863 | 80.1558 | 81.4516 | 83.3231 | 82.3418
Fixed O&M Cost in $ / kilowatt-year | 12.0404 | 11.0456 | 29.2395 | 28.259 | 30.492 | 33.0313 | 32.6067
Note 1: Station Service at "Standby" power plants like CT3 and BGS is higher than Gross Production in most years, so Net Production would be a Negative valve, so we are using Gross Production for $/MWh calculations

## IR-17 BGS
| 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026
| Actual | Forecast | Budget | Budget | Budget | Budget | Budget
Gross Production in MWh 1 | 93 | 550 | 550 | 550 | 550 | 550 | 550
Variable Costs:
Fuel | 66380 | 250000 | 215063.7165 | 313405.1039 | 314205.7747 | 290998.2316 | 290478.3053
Labour | 16572.56 | 22061 | 19558.374 | 20089.7347 | 20562.9393 | 23928.6201 | 15695.0822
Total Variable Costs | 82952.56 | 272061 | 234622.0905 | 333494.8386 | 334768.714 | 314926.8516 | 306173.3875
Variable Cost per MWh | 891.963 | 494.6564 | 426.5856 | 606.3543 | 608.6704 | 572.5943 | 556.6789
Fixed Costs:
Operating | 229795.44 | 273235 | 354627.6716 | 231512.2466 | 316885.0449 | 422967.9214 | 346349.1084
Depreciation | 815662 | 824095 | 855177 | 941903.6614 | 974365.3976 | 993520.3164 | 1014851.0395
Insurance, Property Tax & Training | 117837.6456 | 134750.304 | 332027.5026 | 364408.1106 | 383188.3748 | 384006.1874 | 404749.0631
Financing | 485600.4992 | 435234.6777 | 386972.4158 | 331788.7102 | 276389.9233 | 218510.6331 | 160492.4665
Total Fixed Costs | 1648895.5849 | 1667314.9817 | 1928804.5899 | 1869612.7288 | 1950828.7405 | 2019005.0584 | 1926441.6774
Fixed Cost per MWh | 17730.0601 | 3031.4818 | 3506.9174 | 3399.2959 | 3546.9613 | 3670.9183 | 3502.6212
Fixed Cost in $ / kilowatt-year | 41.2224 | 41.6829 | 48.2201 | 46.7403 | 48.7707 | 50.4751 | 48.161
Fixed O&M Cost in $ / kilowatt-year | 8.6908 | 10.1996 | 17.1664 | 14.898 | 17.5018 | 20.1744 | 18.7775
Note 1: Station Service at "Standby" power plants like CT3 and BGS is higher than Gross Production in most years, so Net Production would be a Negative valve, so we are using Gross Production for $/MWh calculations